## Sheet 1
Table 1
Run Number | Start Date | End Date | Size | Number of Events | Number of files | Block | Good or Bad? | Trigger | Conditions | Comments
7 | 2016-03-03 | 2016-03-03 | 11 MB |  | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | Only fADC channels (ch0 - ch5)
12 | 2016-03-04 | 2016-03-04 | 82 MB |  | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch0 - ch5)
14 | 2016-03-04 | 2016-03-05 | 1690 MB |  | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch0 - ch5) | Setup 1: Original working setup
15 | 2016-03-05 | 2016-03-05 | 1 MB |  | 1 | 18_16 | Bad | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (channels wrong) | Setup 2: Failed setup, useless file
16 | 2016-03-05 | 2016-03-05 | 1 MB |  | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal should be ch0 | Setup 2: corrected setup, 1 minute run to check DAQ was okay
17 | 2016-03-05 | 2016-03-08 | (2028 + 2028 +63) MB | 1.3 million | 3 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal should be ch0 | Setup 2
18 | 2016-03-08 | 2016-03-08 | 4 MB | 4 thousand | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal should be ch0 | Setup 2. Have decreased HV of channels 1 and 3 by 100V each. A short run as a test to look at ADC peak positions.
19 | 2016-03-08 | 2016-03-09 |  |  | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal should be ch0 | Setup 2. Have decreased HV of channels 1 and 3 by 100V each.
20 | 2016-03-09 |  |  |  |  | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal should be ch0 | Setup 2. Have decreased HV of channels 1 and 3 to 1100V each.