## Sheet 1
Table 1
Run Number | Start Date | End Date | Size (MB) | Number of Events | Number of files | Block | Good or Bad? | Trigger | Conditions | Trigger rates (events/s KB/s) | Comments
7 | 2016-03-03 | 2016-03-03 | 11 |  | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | Only fADC channels (ch0 - ch5)
12 | 2016-03-04 | 2016-03-04 | 82 |  | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch0 - ch5)
14 | 2016-03-04 | 2016-03-05 | 1690 |  | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch0 - ch5) |  | Setup 1: Original working setup
15 | 2016-03-05 | 2016-03-05 | 1 |  | 1 | 18_16 | Bad | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (channels wrong) |  | Setup 2: Failed setup, useless file
16 | 2016-03-05 | 2016-03-05 | 1 |  | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 |  | Setup 2: corrected setup, 1 minute run to check DAQ was okay
17 | 2016-03-05 | 2016-03-08 | 2028 + 2028 + 63 | 1.3 m | 3 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 |  | Setup 2
18 | 2016-03-08 | 2016-03-08 | 4 | 4 th | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 |  | Setup 2. Have decreased HV of channels 1 and 3 by 100V each. A short run as a test to look at ADC peak positions. Didn't set HV correctly so no actual change to voltages…
19 | 2016-03-08 | 2016-03-09 | 1169 | 375 th | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 |  | Setup 2. Tried to decreased HV of channels 1 and 3 to 1100V each (didn't set correctly – so all nominal HV values were used).
20 | 2016-03-09 | 2016-03-09 | 163 | 25 th | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 |  | Setup 2. Tried to decreased HV of channels 1 and 3 to 1100V each (didn't set correctly – so all nominal HV values were used).
HAVE NOW SWAPPED THE fADC!!…
24 | 2016-03-09 | 2016-03-09 |  |  | 1 | 18_16 | Bad | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 |  | Setup 2. Quick test. Changed fADC – failed… fADC not seated correctly.
25 | 2016-03-09 | 2016-03-09 |  |  | 1 | 18_16 | Bad | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 |  | Setup 2. Quick test. Changed fADC – failed… fADC not seated correctly.
26 | 2016-03-10 | 2016-03-10 | 79 | 25 th | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 1.09 6.0 **V is too low for ch1 and ch3** | Setup 2. Nominal HV, except 1100V for ch1 and ch3. Quick test to check ADC peak positions, and that fADC is seated correctly.
27 | 2016-03-10 | 2016-03-10 | 69 | 20 th | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 5.2 16.8 In spec | Setup 2. Nominal HV, except 1300V for ch1 and ch3. Quick test to check ADC peak positions.
28 | 2016-03-11 | 2016-03-11 | 69 | 20 th | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 5.9 19.0 In spec | Setup 2. Nominal HV. Quick test to check ADC peak positions.
29 | 2016-03-11 | 2016-03-11 | 227 | 72 th | 1 | 18_16 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 5.4 17.5 In spec | Setup 2. Nominal HV, except 1330V for ch1 and ch3. Quick test to check ADC peak positions.
30 | 2016-03-11 | 2016-03-15 | 2028 + 1154 | 1 m | 2 | 18_16 | *Good* | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 5.2 16.6 In spec | Setup 2. Nominal HV, except ch1 = 1361V and ch3 = 1332V. NB DAQ end run error below, copied immediately, will check final output file to check how many events to avoid…
31 | 2016-03-15 | 2016-03-15 |  | 0 | 1 | 6_6 |  | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 5.3 17.0 In spec | Setup 2. Nominal HV. Quick test of trigger rate.
32 | 2016-03-15 | 2016-03-15 | 66 | 21 th | 1 | 6_6 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 5.3 17.0 In spec | Setup 2. Nominal HV.
33 | 2016-03-15 | 2016-03-15 | 81 | 26 th | 1 | 6_6 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 |  | Setup 2. HV calibration run.
34 | 2016-03-15 | 2016-03-16 | 63 | 20 th | 1 | 6_6 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 |  | Setup 2. HV calibration run.
35 | 2016-03-16 | 2016-03-16 | 63 | 20 th | 1 | 6_6 | Good | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 6.1 19.6 In spec | Setup 2. HV calibrated run. Short run to check OK.
36 | 2016-03-16 | 2016-03-17 | 301 | 92 th | 1 | 6_6 | *Bad* | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 5.8 18.4 In spec | Setup 2. HV calibrated run. Jlab computers were restarted so only got 4 hours of data…
37 | 2016-03-17 |  |  |  |  | 6_6 |  | Coincidence between mean times of 3 layers | 6 fADC and TDC channels read out (ch1 – ch6). Coincidence signal is ch0 | Integrated: 6.0 19.5 In spec | Setup 2. HV calibrated run.